# Text boxes

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TAXT42 Welded Corners is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS /

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TAXT42 Welded Corners

Material: Aluminium

Note: This profile uses TC1 clips which must be specified separately

Fixing: Proprietary cartridge adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TAXT42 Welded Corners

Material: Aluminium

Gauge: 6/8/10mm

Note: This profile uses TC1 clips which are adjustable to provide an upstand of 6mm, 8mm or 10 mm on the tread or riser.  The clip is removed after curing.

Profile Height: 42mm

Stocked Angles: 83° and 90° - also available in other angles to order

Fixing: Proprietary cartridge adhesive fix – as per manufacturers instructions

Site Join: Butt

Description

Stair Trims – Welded Corners with Fixing Clips

Welded corners are designed to form a neat and attractive edge around the open end of a step by concealing the edge of the floorcovering and stair edging.  Welded corners are fabricated using a trimming strip of the correct gauge to suit the thickness of the floorcovering.  When ordered as TAXT42, the apex of the welded corner is contoured to a 10mm radius to match the curved edge design of the XT stair edging profiles.

Data Sheet:   (sheet 1 of 1)   05/09/08

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

# TAXT42 Welded Corners