Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TEX Sheet Material, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

75/ 750/ 550 STAIR NOSINGS AND TRIMS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TEX Sheet - Trans Edge Heavy Duty Stair & Floor System

Material: Extremely durable slip-resistant Material

Colour: Charcoal (LRV: 4.07)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TEX Sheet - Trans Edge Heavy Duty Stair & Floor System

Gauge: 5mm

Tread Dimension: up to 1220mm x 2750mm

Colour: Charcoal (LRV: 4.07)

(low risk of slip in both wet and dry internal and external conditions PTV 67 (wet conditions) PTV 76 (dry conditions)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Trans Edge Heavy Duty Stair Edgings

The Gradus heavy duty stair & floor system offers a hard wearing solution to help reduce the risk of slips and trips in the most demanding environments. Ideal for use in internal/external applications, this system features stair edgings and tread plates for use on stairs and sheet material for use as a floorcovering on landings and walkways. Ideal for use in both new and existing applications.

As with all Gradus stair edgings they help to meet the guidance in BS8300:2009+A1:2010, Approved Document M of the Building Regulations 2000 and help to achieve an inclusive environment for all in line with the Equality Act 2010.

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

TEX Sheet Material

Data Sheet:   (sheet 1)   August 2013