# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

TEXE1 - Trans Edge Heavy Duty Stair Edging Attachable Extender

Data Sheet:   (sheet 1 of 1)   October 2015

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TEXE1 - Trans Edge Heavy Duty Stair Edging Attachable Extender is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

75/ 750/ 550 STAIR NOSINGS AND TRIMS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TEXE1 - Trans Edge Heavy Duty Stair Edging Attachable Extender

Material: Mill finish aluminium with extremely durable slip-resistant insert

Colour: Avalanche (LRV: 73.00), Ash (LRV: 24.77), Charcoal (LRV: 4.07), Corn (LRV: 31.28) (select as required)

Fixing: Gradus Grip (adhesive only) – as per manufacturer’s instructions OR Mechanical & adhesive fix – as per manufacturer’s instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TEXE1 - Trans Edge Heavy Duty Stair Edging Attachable Extender

Gauge: 6mm

Tread Dimension: 68mm

Insert Width: 50mm

Channel: Single mill finished aluminium channel with extremely durable slip-resistant insert for use with TEX11 and TEX51 stair edgings

Insert Bond: Gradus Fusion advanced adhesive technology

Colour: Avalanche (LRV: 73.00), Ash (LRV: 24.77), Charcoal (LRV: 4.07), Corn (LRV: 31.28) (select as required). Low risk of slip in both wet and dry internal and external conditions PTV 67 (wet conditions) PTV 76 (dry conditions)

Fixing: Gradus Grip (adhesive only) – as per manufacturer’s instructions OR Mechanical & adhesive fix – as per manufacturer’s instructions

Description

Trans Edge Heavy Duty Stair Edgings

A range of heavy duty aluminium stair edgings incorporating extremely durable slip-resistant insert materials for internal or external use.  The ideal choice for specification in areas such as foot bridges, railway stations and airports, sports stadia, outdoor arenas and heavy industry.

As with all Gradus stair edgings they help to meet the guidance in BS8300:2009+A1:2010, Approved Document M of the Building Regulations 2000 and help to achieve an inclusive environment for all in line with the Equality Act 2010.