# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

TEXR1 - Trans Edge Heavy Duty Stair Edging Attachable Ramp

Data Sheet:   (sheet 1)   August 2011

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TEXR1 - Trans Edge Heavy Duty Stair Edging Attachable Ramp is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

75/ 750/ 550 STAIR NOSINGS AND TRIMS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TEXR - Trans Edge Heavy Duty Stair Edging Attachable Ramp

Material: Mill finish aluminium

Colour: Aluminium

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TEXR - Trans Edge Heavy Duty Stair Edging Attachable Ramp

Gauge: Ramped down

Tread Dimension: 25mm

Channel: Single mill finished aluminium ramp for use with TEX11 and TEX51 stair edgings

Insert Bond: Gradus Fusion advanced adhesive technology

Colour: Aluminium

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Trans Edge Heavy Duty Stair Edgings

A range of heavy duty aluminium stair edgings incorporating extremely durable slip resistant insert material for internal or external use.  The ideal choice for specification in areas such as foot bridges, railway stations, sports stadia, outdoor arenas and the petrochemical industry.

As with all Gradus stair edgings they help to meet the guidance in Approved Document M Building Regulations 2000 and help to achieve an inclusive environment for all in line with the Equality Act 2010.