# NBS & Gradus Specifications

# Floorcoverings

Adventurer (Impervious)

Data Sheet:   (sheet 1 of 1)   31.03.08

Gradus Carpets, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Adventurer (Impervious) is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

170 CARPETING:

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Adventurer

Type: Tufted Patterned Loop Pile

Gradus Detailed Specification

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Adventurer

Type: Tufted Patterned Loop Pile

Construction: Tufted Patterned Loop Pile (1/13 gauge)

Surface Yarn: 100% TDX Solution Dyed Nylon

Dimensions/backing: 2.00m Wide Impervious Back

Pile Thickness:  2.8mm

Total Carpet Thickness: 6.9mm

Primary backing: Synthetic Non-Woven

Colours: Available in 12 colourways

Warranties: 15 year wear warranty (Full details on request)

Consult with Gradus Carpets for technical literature and to obtain samples. Gradus Carpets can also provide a design and specification advisory service and it is recommended that they are consulted early in the design process.

Installation Instructions;

2m Pvc Impervious, recommended adhesive.  F. Ball & Co.  01538 361633.  Product F45

All carpet should be laid in accordance with BS5325:2001 Installation of textile floorcovering.

For further installation advice, please contact Gradus Technical Services 01625 428922

Description

Adventurer

Adventurer is supplied in tufted patterned loop pile finish with a PVC backing in widths of 2.00mtrs and in tile format with a choice of PVC or bitumen backings . The solution dyed face yarn and the impervious backing make Adventurer ideal for areas such as hospitals, nursing homes, educational environments and all heavy contract locations.