# NBS & Gradus Specifications

# Floorcoverings

Adventurer Tile (Bitumen backing)

Data Sheet:   (sheet 1 of 1)   March 2015

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Adventurer Tile (Bitumen backing) is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on

0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

130 CARPET TILE; 170 CARPETING:

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Adventurer

Type: Tufted Patterned Loop Pile Carpet Tile

Gradus Detailed Specification

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Adventurer

Type: Tufted Patterned Loop Pile Carpet Tile

Construction: Tufted Patterned Loop Pile (1/13 gauge)

Surface Yarn: 100% TDX Solution Dyed Nylon

Dimensions/backing:  Tile 500mm x 500mm Bitumen Backed

Pile Thickness:  2.8mm

Total Carpet Thickness: 6.2mm

Primary backing: Synthetic Non-Woven

Colours: Available in 12 colourways

Warranties: 15 year wear warranty (Full details on request)

Consult with Gradus Carpets for technical literature and to obtain samples. Gradus Carpets can also provide a design and specification advisory service and it is recommended that they are consulted early in the design process.

Installation Instructions;

500mm x 500mm Carpet Tiles, recommended adhesive.  F. Ball & Co.  01538 361633.  Product F41

All carpet should be laid in accordance with BS5325:2001 Installation of textile floorcovering.

For further installation advice, please contact Gradus Technical Services 01625 428922

Description

Adventurer

Adventurer is supplied in tufted patterned loop pile finish in tile format with bitumen backing. The solution dyed face yarn and the impervious backing make Adventurer ideal for areas such as hospitals, nursing homes, educational environments and all heavy contract locations.

Gradus Carpets, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com