# NBS & Gradus Specifications

# Floorcoverings

Emphasis Carpet Tile (Loop Pile)

Data Sheet:   (sheet 1 of 1)   January 2012

Gradus Carpets, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Emphasis (Loop Pile) is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

130 CARPET TILE:

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Emphasis (Loop Pile)

Type: Loop Pile Carpet Tile

Gradus Detailed Specification

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Emphasis

Type: Loop Pile Carpet Tile

Construction: Tufted Loop Pile (1/12 gauge)

Surface Yarn: 100% Aquafil Alto Chroma SDN

Dimensions/backing: Tile 500mm x 500mm Bitumen Backed

Pile Thickness:  3.5mm

Total Carpet Thickness: 6.8mm

Primary backing: Non-Woven

Colours: Available in 7 colourways

Warranties: 12 year wear and 10 year anti-static (Full details available on request)

Consult with Gradus Carpets for technical literature and to obtain samples. Gradus Carpets can also provide a design and specification advisory service and it is recommended that they are consulted early in the design process.

Installation Instructions;

500mm x 500mm Carpet Tile, recommended adhesive.  F. Ball & Co.  01538 361633.  Product F41

All carpet should be laid in accordance with BS5325:2001 Installation of textile floorcovering.

For further installation advice, please contact Gradus Technical Support 01625 428922

Description

Emphasis

The Emphasis range features a selection of bright accent colours which are available in both loop and cut pile.  Emphasis is suitable for a wide range of environments including commercial, hospitality, healthcare and education.