# NBS & Gradus Specifications

# Floorcoverings

Genus (Broadloom)

Data Sheet:   (sheet 1 of 1)   06.11.08

Gradus Carpets, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Genus (Broadloom) is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

170 CARPETING:

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Genus

Type: Broadloom

Gradus Detailed Specification

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Genus

Type: Tufted Graphics

Construction: Tufted Cut Pile

Surface Yarn: 100% Marquesa SD

Dimensions/backing: Broadloom 4.00m

Total Carpet Thickness: 8mm

Primary backing: 100% Polypropylene

Colours: Available in 16 colourways

Warranties: 15 year wear warranty, 10 year anti-static warranty, 5 year stain & fade warranty. Full warranty details available on request.

Consult with Gradus Carpets for technical literature and to obtain samples. Gradus Carpets can also provide a design and specification advisory service and it is recommended that they are consulted early in the design process.

Installation Instructions;

4.00m Broadloom, recommended adhesive.  F. Ball & Co.  01538 361633.  Product F3

All joints to be seam sealed using Gradus recommended seam sealer F. Ball & Co.  01538 361633.  Product F30

All carpet should be laid in accordance with BS5325:2001 Installation of textile floorcovering.

For further installation advice, please contact Gradus Technical Services 01625 428922

Description

Genus

Genus is a cut pile carpet that offers exceptional service across a variety of commercial installations. Combining durability and ease of maintenance with high levels of styling and is supported by a comprehensive warranty package.  Genus has been designed to coordinate with the Volnay range of cut pile carpet.