# NBS & Gradus Specifications

# Floorcoverings

Streetwise Design - Originals (Tile)

Data Sheet: (sheet 1 of 1) September 2016

Gradus Carpets, Park Green, Macclesfield, Cheshire SK11 7LZ England UK Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Streetwise Design - Originals is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

130 CARPET TILE:

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Streetwise Design - Originals

Type: Tufted Loop Pile Carpet Tile

Gradus Detailed Specification

Manufacturer: Gradus Carpets, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 859000 Fax: 01625 850352

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Gradus Streetwise Design - Originals

Construction: Tufted Loop Pile Carpet Tile

Surface Yarn: 100% Solution Dyed Nylon

Dimensions/backing: Tile 500mm x 500mm Bitumen Backed

Total Carpet Thickness:  7mm Tile

Primary backing: Non-Woven

Colours: Available in 5 colourways

Warranties: 12 year wear warranty and 10 year anti-static warranty. Full details available on request.

Consult with Gradus Carpets for technical literature and to obtain samples. Gradus Carpets can also provide a design and specification advisory service and it is recommended that they are consulted early in the design process.

Installation Instructions;

500mm x 500mm Carpet Tiles, recommended adhesive.  F. Ball & Co.  01538 361633.  Product F41

All carpet should be laid in accordance with BS5325:2001 Installation of textile floorcovering.

For further installation advice, please contact Technical Support 01625 428922

Description

Streetwise Design

Streetwise Design is an attractive textured loop pile carpet tile available in a range of complementary colours. It comprises Originals and Brights and can be combined with Stratus Jet Stream and Emphasis to create interesting and contemporary floor schemes. Streetwise Design is suitable for a wide range of environments including commercial and education.