Data Sheet:   (sheet 1 of 1)   May 2015

# JM884-A02-025

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK Tel: 01625 428922 Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for JM884-A02-025 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M10 CEMENT BASED LEVELLING/WEARING SCREEDS

- 476 METAL SECTION MOEMENT JOINTS

M13 CALCIUM SULFATE BASED LEVELLING SCREEDS

- 395 FINISHING/CURING

M40 STONE/CONCRETE/QUARRY/CERAMIC TILING/MOSIAC

- 835 METAL SECTION MOVEMENT JOINTS

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

- 740 EDGINGS AND COVER STRIPS

M51 EDGE FIXED CARPETING

- 510 EDGINGS AND COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: JM884-A02-025

Material: Aluminium

Colour: Mill finish aluminium standard

Fixing: Spring-clip

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: JM884-A02-025

Material: Mill finish aluminium standard

Application: Floor-to-wall

Frame Height: 4mm

Width: 62mm

Sightline: 62mm

Fixing: Spring-clip

Movement: +/- 30%

Joint width: Up to 25mm

Point Load: 250kg (25mm diameter surface)

Description

Expansion Joint Covers

Expansion joint covers protect a building’s appearance by covering up expansion joints, they also prevent dirt and debris from falling between the floor coverings and create a safe transition for pedestrian and wheeled traffic.