Data Sheet:   (sheet 1 of 1)   October 2015

# PR65

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for PKR65 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

750 STAIR NOSINGS/TRIM:

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: PKR65

Material: Pvc (matt)

Colour: Black (LRV: 4.99), Brown (LRV: 7.15), Dove (LRV: 26.19), Granite (LRV: 11.69), Snowdrift (LRV: 80.54) - select as required

Fixing: Contact adhesive fix – as per manufacturer’s instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: PKR65

Gauge: Ramp

Tread Dimension: 65mm

Riser Dimension: 44mm

Channel: One-piece pvc (matt)

Profile Shape: Rake Back

Colour (select as required):

Black (LRV: 4.99), Brown (LRV: 7.15), Dove (LRV: 26.19), Granite (LRV: 11.69), Snowdrift (LRV: 80.54)

Fixing: Contact adhesive fix – as per manufacturer’s instructions

Description

Flexible Pvc Stair Edgings

A range of one-piece slip resistant stair edgings recommended for use on escape stairs and other light traffic areas.

As with all Gradus stair edgings PKR65 helps to meet the guidance in Approved Document M (The Buildings Regulations 2010) and helps to achieve an inclusive environment in line with the Equality Act 2010.