Data Sheet:   (sheet 1 of 1)   December 2008

# PR50

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for PR50 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

750 STAIR NOSINGS/TRIM:

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: PR50

Material: Pvc (matt)

Colour: Black (LRV: 4.99), Brown (LRV: 7.15), Dove (LRV: 26.19), Granite (LRV: 11.69), Snowdrift (LRV: 80.54) - select as required

Fixing: Contact adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: PR50

Gauge: 2.5mm

Tread Dimension: 50mm

Riser Dimension: 25mm

Channel: One-piece pvc (matt)

Profile Shape: Bullnose

Colour (select as required):

Black (LRV: 4.99), Brown (LRV: 7.15), Dove (LRV: 26.19), Granite (LRV: 11.69), Snowdrift (LRV: 80.54) - select as required

Fixing: Contact adhesive fix – as per manufacturers instructions

Description

Flexible Pvc Stair Edgings

A range of one-piece slip resistant stair edgings suitable for use with resilient floorcoverings and recommended for escape stairs and other light traffic areas.

As with all Gradus stair edgings PR50 helps to meet the guidance in Approved Document M (The Buildings Regulations 2010) and helps to achieve an inclusive environment in line with the Equality Act 2010.