# RD75/TDB45

Data Sheet:   (sheet 1 of 1)   28/02/08

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for RD75/TDB45 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: RD75/TDB45

Material: PVC-u

Colour: Black, Brown, Dove, Granite (select as required)

Fixing: Installed on top of the floorcovering – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: RD75/TDB45

Top Shape: Surface Mounted – for fixing on top of floorcoverings

Material: PVC-u

Height: 11mm

Width: Top – 69mm / base – 30mm

Colour: Black, Brown, Dove, Granite (select as required)

Fixing: Installed on top of the floorcovering – as per manufacturers instructions

Description

Transition Strips – Cable Ducts

Cable Ducts combine the principal of Gradus Clip-Top functionality with the added benefit of securing loose or trailing light duty cables such as computer cables.  Trailing cables should be avoided and where appropriate, the use of cable ducts can help to securely fix cables and prevent accidents, whilst also preventing damage to vital cables.