Cleaning and Maintenance Information

# Accessories

FXT31/FXB336 PVC-u Floor Trims

Data Sheet:   (sheet 1 of 1)   29/03/10

This leaflet has been compiled to help the user obtain optimum performance and satisfaction from their selected product:

A regular scheduled maintenance programme prevents build up of dirt and grease which will detract from the overall appearance of the product.

Cleaning

Brush down the profiles using a soft bristled brush and remove dust particles by wiping with a damp cloth.

Weekly

Brush down, using a soft bristled brush. With clean warm water, apply a small amount of a mild detergent to a lint free cloth and gently clean the surface.  During the clean, the water must be changed on a regular basis.  Once the profile has been cleaned thoroughly rinse with fresh, clean water and dry with a dry lint free cloth.

The area should not be trafficked until the profile is completely dry.

NB. The use of an aggressive detergent could result in colour fade within the PVC/PVC-u.

Floor sealants, polishes or such coating should not under any circumstances be applied to PVC/PVC-u.

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com