# FXT31/FXB339

Data Sheet:   (sheet 1 of 1)   29/03/10

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for FXT31/FXB339 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: FXT31 Top, FXB339 Base

Material: 	FXT31 Top - Co-extruded PVC-u,

FXB339 Base - PVC-u (supplied pre-punched with fixing tabs and holes to form curves on-site)

Colour: 	FXT31 Top - Black, Bluebell, Brown, Dove, Clay, Granite

Fixing: 	FXT31 Top - Fix to base section once adhesive has cured – as per manufacturers instructions,

FXB339 Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions.

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: FXT31 Top, FXB339 Base

Material: 	FXT31 Top - Co-extruded PVC-u,

FXB339 Base - PVC-u (supplied pre-punched with fixing tabs and holes to form curves on-site)

Top Shape: Twin

Gauge: 	FXB339 - 9

Width: 	FXT31 – 30mm, FXB339 - 33mm

Colour: 	FXT31 Top - Black, Bluebell, Brown, Dove, Clay, Granite

Fixing: 	FXT31 Top - Fix to base section once adhesive has cured – as per manufacturers instructions,

FXB339 Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions.

Description

Transition Strips – Clip-Top fx

Clip-Top fx is a two-piece product allowing design flexibility in all commercial situations.  The profiles can be curved on-site without the use of heat application or special equipment.  Tops are co-extruded PVC-u and can be replaced so that the colour can be altered as part of a refurbishment programme or if worn or damaged sections need to be changed, without renewing the base or disrupting the fitted floorcovering.  A choice of bases is also available – PVC-u bases are supplied pre-punched with tabs and fixing holes to allow for the formation of curves whereas aluminium bases are available to be used for straight lengths.