Data Sheet:   (sheet 1 of 1)   12/04/10

# KC388AS

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for KC388AS is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: KC388AS

Material: Top – aluminium with anodised metal finish / base – aluminium

Colour: F4 Silver, F5 Gold

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: KC388AS

Top Shape: Twin

Material: Top – aluminium with anodised metal finish / base – aluminium

Back Edge Internal Height: 5mm – 10mm

Width: Top – 34mm / Base 20.5mm

For use with materials 7mm – 11.5mm thick (leading edge).

Colour: F4 Silver, F5 Gold

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Transition Strips – PPS

PPS comprises a range of two-piece silver or gold effect floor trims for domestic and light traffic commercial use that allows safe transition for flooring such as wood, wood laminate and ceramic tiles.  The PPS system utilises aluminium bases and tops with a unique patented linking screw which allows the height to be adjusted to suit most types of flooring.