# SCSM474

Data Sheet:   (sheet 1 of 1)   22/04/10

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for SCSM474 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SCSM474

Material: Matt Stainless Steel

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SCSM474

Material: Matt Stainless Steel

Thickness: 2mm

Width: 40mm

Length: 2.70m

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Description

Specialist Floor Trims – Cover Strips

Cover Strips are used to join floorcoverings of a similar thickness, providing a bridge to cover joints in flooring materials, ensuring that joins are neat and safe and exposed edges are protected.  Cover strips are often used at door thresholds.