[image: image1.jpg]Gradus Accessories Park Green Macclesfield Cheshire SK117LZ England UK Tel: 01625 428922 Fax: 01625 433949
www.gradusworld.com



[image: image2.png]GRADUS








Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949


www.gradusworld.com





NBS & Gradus Specifications





Data Sheet:   (sheet 1 of 1)   22/04/10





SCSP454





Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for SCSP454 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.








NBS Specification





M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING


70 / 740 EDGINGS/COVER STRIPS





M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING


510 EDGINGS/COVER STRIPS





Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.


Tel: 01625 428922 Fax: 01625 433949


Website: � HYPERLINK "http://www.gradusworld.com" ��www.gradusworld.com�   Email: sales@gradusworld.com





Reference: SCSP454


Material: Polished Stainless Steel


Fixing: Mechanical (screw) fix – as per manufacturers instructions











Gradus Detailed Specification





Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.


Tel: 01625 428922 Fax: 01625 433949 


Website: � HYPERLINK "http://www.gradusworld.com" ��www.gradusworld.com�   Email: sales@gradusworld.com





Reference: SCSP454


Material: Polished Stainless Steel


Thickness: 1mm


Width: 40mm


Length: 2.70m


Fixing: Mechanical (screw) fix – as per manufacturers instructions





	   




















Description





Specialist Floor Trims – Cover Strips





Cover Strips are used to join floorcoverings of a similar thickness, providing a bridge to cover joints in flooring materials, ensuring that joins are neat and safe and exposed edges are protected.  Cover strips are often used at door thresholds.











