Cleaning and Maintenance Information

# Accessories

GT61R Feature Strip

This leaflet has been compiled to help the user obtain optimum performance and satisfaction from their selected product:

Preventative Maintenance Programme

A regular scheduled maintenance programme should be employed to prevent the build up of dirt and grease, which will reduce the slip-resistant properties of the profile and detract from the overall appearance of the product.

NB. Under no circumstances should degreasers of any type and floor cleaners/ sanitizers containing hydrocarbons or citrus based agents be used to clean any Gradus profile.

Steam cleaners, power washers, floor sealants, polishes or any coatings should not under any circumstances be used on the profile.

Daily Cleaning

Brush down the profile using a soft bristled brush and remove dust particles by wiping with a damp cloth.

PVC-u Profile

Stubborn marks such as boot blacking may be removed from the PVC-u profile by means of a green scotch pad and neutral detergent. After cleaning, dry thoroughly with a lint free cloth. Due to the physical properties of the PVC-u material, we strongly recommend that the green pad is changed regularly.

Data Sheet:   (sheet 1 of 1)   22/04/10

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com