[image: image1.png]GRADUS



[image: image2.jpg]Gradus Accessories Park Green Macclesfield Cheshire SK117LZ England UK Tel: 01625 428922 Fax: 01625 433949
www.gradusworld.com








Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for FCA16 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.








NBS Specification





M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING


70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS / 





M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING


510 EDGINGS/COVER STRIPS





Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.


Tel: 01625 428922 Fax: 01625 433939


Website: � HYPERLINK "http://www.gradusworld.com" ��www.gradusworld.com�   Email: sales@gradusworld.com





Reference: FCA16


Material: Aluminium base with pvc insert


Colour: Interior Insert: Alpine, Burgundy, Buttercup, Canvas, Cloud, Coffee, Evergreen, Glacier, Ink, Jet, Lavender, Lead, Linen, Midnight, Nutmeg, Ocean, Poppy, Sage, Snowdrift, Steel, Storm, Veranda (select as required) or


Interior Insert – Grained: Black, Bluebell, Brown, Dove, Granite (select as required)


Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions








Gradus Detailed Specification





Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.


Tel: 01625 428922 Fax: 01625 433939 


Website: � HYPERLINK "http://www.gradusworld.com" ��www.gradusworld.com�   Email: sales@gradusworld.com





Reference: FCA16


Material: Aluminium base with pvc insert


Gauge: 5.5mm


Profile Width: 16mm 


Colour: Interior Insert: Alpine, Burgundy, Buttercup, Canvas, Cloud, Coffee, Evergreen, Glacier, Ink, Jet, Lavender, Lead, Linen, Midnight, Nutmeg, Ocean, Poppy, Sage, Snowdrift, Steel, Storm, Veranda (select as required) or


Interior Insert – Grained: Black, Bluebell, Brown, Dove, Granite (select as required)


Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

















Description





Specialist Floor Trims – Feature Strips





Feature Strips are used to form a joint between different types of flooring material.








Data Sheet:   (sheet 1 of 1)   28/02/08








NBS & Gradus Specifications





Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949


www.gradusworld.com





FCA16








