ET356F3

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Folotrim ET356F3 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M40 Stone/Concrete/Quarry/Ceramic Tiling/Mosaic

110 TILING TO:

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ET356F3

Material: Polished Aluminium

Fixing:  mechanical (screw) fix - as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ET356F3

Visible Height: 3.5mm

Width: 18mm

Internal Hight: 2.5mm

Material: Polished Aluminium

Fixing: mechanical (screw) fix - as per manufacturers instructions

Description

Kűberit ET356F4 is used to form a neat and clean finish to the edge of a floorcovering where it either finishes or meets another floorcovering.  Finishing Trims protect the edge of floorcoverings, prevent damage and ensure that the floorcovering does not lift and become a trip hazard.  Available in a choice of Aluminium finishes (Mill, Polished, or Anodised) and Polished Bronze.  Bases are either pre-punched with tabs and fixing holes for on-site curving or a solid with countersunk holes for straights. For curving details, contact Gradus Technical Services for further information.

Data Sheet:   (sheet 1 of 1)   29/03/10

Gradus Accessories  Park Green  Macclesfield  Cheshire  SK11 7LZ  England  UK  Tel: 01625 428922  Fax: 01625 433949