Cleaning and Maintenance Information

# Accessories

AR268 Heavy Duty Ramp

This leaflet has been compiled to help the user obtain optimum performance and satisfaction from their selected product:

Preventative Maintenance Programme

A regular scheduled maintenance programme prevents build up of dirt and grease which will detract from the overall appearance of the product.

Daily Cleaning

Brush down the profiles using a soft bristled brush and remove dust particles by wiping with a damp cloth.

Twice Weekly or as Required

Brush down, using a soft bristled brush. With clean warm water, apply a small amount of a mild detergent to a lint free cloth and gently clean the surface.  During the clean, the water must be changed on a regular basis.  Once the profile has been cleaned thoroughly rinse with fresh, clean water and dry with a dry lint free cloth.

The area should not be trafficked until the profile is completely dry.

Aluminium Profiles

Stubborn marks such as boot blackening may be removed from aluminium profiles (F0  finish only) by means of a green scotch pad and neutral detergent.  Light surface scratches can be removed with careful use of fine wire wool and buffed with a soft cloth.

Data Sheet:   (sheet 1 of 1)   06/05/15

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com