[image: image1.png]GRADUS



[image: image2.jpg]Gradus Accessories Park Green Macclesfield Cheshire SK117LZ England UK Tel: 01625 428922 Fax: 01625 433949
www.gradusworld.com








Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for MJ307SF8 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.








NBS Specification





M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING


70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS / 





M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING


510 EDGINGS/COVER STRIPS





Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.


Tel: 01625 428922 Fax: 01625 433949


Website: � HYPERLINK "http://www.gradusworld.com" ��www.gradusworld.com�   Email: sales@gradusworld.com





Reference: MJ307SF8


Material: Stainless Steel


Fixing: Proprietary cartridge adhesive fix – as per manufacturers instructions











Gradus Detailed Specification





Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.


Tel: 01625 428922 Fax: 01625 433949 


Website: � HYPERLINK "http://www.gradusworld.com" ��www.gradusworld.com�   Email: sales@gradusworld.com





Reference: MJ307SF8


Material: Stainless Steel


Gauge: 6mm


Profile Height: 7.5mm


Profile Width: 48mm


Flexible Expansion Material: 11mm


Fixing: Proprietary cartridge adhesive fix – as per manufacturers instructions


























Description





Specialist Floor Trim – Movement Joint


Movement joints are designed for use where expansion of up to 1.5mm is required when joining floorcoverings.  Designed specifically for use with flooring materials such as ceramic tile, marble, stone and terrazzo.  All profiles feature a perforated base with fixing holes for straights and use with ceramics.








Data Sheet:   (sheet 1 of 1)   23/04/12








NBS & Gradus Specifications





Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949


www.gradusworld.com





MJ307SF8








