# CG1042

Data Sheet:   (sheet 1 of 1)   07/01/08

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for CG1042 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS /

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CG1042

Material: Aluminium

Note: This profile is available with or without carpet gripper

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CG1042

Material: Aluminium

Gauge: 8mm

Profile Width: 44mm

Note: This profile is available with or without carpet gripper

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Specialist Floor Trims – Nap Trims

Nap trims grip and hold carpet in place and are available with or without carpet grippers.  Closing to form a neat finish to the floorcovering, nap trims are butt jointed to the back edge of a stair edging.  These profiles are ideal for use where an Axminster or other woven backed carpet is used.