# Text boxes

Choose the trim height according to the thickness of the floor covering.

- ET212EBF4 is designed for curving on site and Gradus Accessories recommends the use of a proprietary curving machine to achieve the best finish.

- It should be ensured that all surfaces to which the profile is to be fixed are dry, flat and free from any contaminants.

- Cut the profile to the size required.

- Apply a bead of proprietary cartridge adhesive to the back of the profile and press firmly in place.

- Secure the profile to the floor using minimum 30mm No 4 screws through the pre drilled holes.

If any further information is required, please do not hesitate to contact Gradus Technical Services on (+44)1625 428922 or fax on (+44)1625 425226

Data Sheet:   (sheet 1 of 1)   27/04/10

# Accessories

Installation Guidelines

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

ET212EBF4 Curvable Square Edge Trim