Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TH382 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS /

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TH382

Material: Anodised Aluminium

Finish: F3 Polished or F4 Silver (select as required)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TH382

Material: Anodised Aluminium

Finish: F3 Polished or F4 Silver (select as required)

Top Width: 28mm

Base Width: 24mm

Gauge: 7mm-8.5mm

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Specialist Floor Trims – Aluminium Threshold Trims

This one-piece threshold trim is used to create a neat, safe transition between different types of floorcovering.  The design of the profile allows the edge of the floorcovering to be secured and concealed, thus providing a neat finish and protecting the raw edge of the floorcovering.  The floorcovering is fitted into the profile and then the top is flattened to provide a secure fit.  Threshold trims are commonly used at door interfaces or to define changes in area.

# TH382

Data Sheet:   (sheet 1 of 1)   23/04/12

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com