# TH495

Data Sheet:   (sheet 1 of 1)   28/02/08

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TH495 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS /

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TH495

Material: Co-extruded Metallic pvc top with PVC-u base

Colour: Doubloon, Platinum, Silver, Zinc (select as required)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TH495

Material: Co-extruded Metallic pvc top with PVC-u base

Profile Shape: Twin

Gauge: 5mm

Profile Height: 9mm

Profile Width: Top – 22mm / Base - 48mm

Colour: Doubloon, Platinum, Silver, Zinc (select as required)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Specialist Floor Trims – Feature Strips

Feature Strips are used to form a joint between different types of flooring material.