ELAR1250

Data Sheet:   (sheet 1 of 1)   29/03/10

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for ELAR1250 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ELAR1250

Material: 	Aluminium with PVC insert

Colour: 	50mm Standard Interior Insert (ELINS50): Burgundy, Buttercup, Canvas, Cloud, Coffee, Evergreen, Glacier, Ink, Jet, Lead, Linen, Midnight, Nutmeg, Ocean, Poppy, Snowdrift, Steel (select as required).

50mm Xtra-Grip Interior Insert (ELINSXG50): Carbon, Rock, Pebble, Zest (select as required)

Fixing: 	Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ELAR1250

Profile Shape: Ramped – for joining floorcoverings of a different height

Material:	Aluminium with PVC insert

Width: 	84mm

Back Edge Internal Height: 12mm

Back Edge Internal Depth: 12mm

Colour: 	50mm Standard Interior Insert (ELINS50): Burgundy, Buttercup, Canvas, Cloud, Coffee, Evergreen, Glacier, Ink, Jet, Lead, Linen, Midnight, Nutmeg, Ocean, Poppy, Snowdrift, Steel (select as required).

50mm Xtra-Grip Interior Insert (ELINSXG50): Carbon, Rock, Pebble, Zest (select as required)

Fixing: 	Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Transition Strips – Trans-Edge

Trans – Edge trims have been designed for use in the most demanding environments where frequent heavy foot and wheeled traffic can be expected e.g. railway stations, airports, transport interchanges, department stores and hospitals.  Trans-Edge trims comprise of an aluminium base channel with a choice of slip resistant Elite inserts.  Elite Xtra Grip insert is also available for 30 and 50mm ramps, for interior areas that are at risk of becoming wet and therefore pose a higher risk of slip.  All profiles are suitable for interior use, and available as a ramp or flat design.