Data Sheet:   (sheet 1 of 1)   April 2011

# CL05/LB10

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for CL05/LB10 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CL05/LB10

Material: PVC-u top and base

Colour: Black with smoked or transparent window

LED Options: Floor Loom in 5 LED colours – Amber, Blue, Green, Red and White or

Interlok Advance in 5 LED colours – Amber, Blue, Green, Red and White

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CL05/LB10

Top Shape: Twin (for carpet to carpet)

Material: PVC-u top and base

Gauge: 9mm

Overall Height: 12mm

Width: Top – 31mm / base – 16mm

Colour: Black with smoked or transparent window

LED Options: Floor Loom in 5 LED colours – Amber, Blue, Green, Red and White or

Interlok Advance in 5 LED colours – Amber, Blue, Green, Red and White

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

PVC-u Floor Trims for Illumination

The PVC-u range of floor trims are installed separately from the step system and are designed for use with flexible LED floor loom to highlight walkways, aisles, and entrance and exit routes.

The range offers a choice of profiles that are suitable for use where different floorcoverings meet.  This helps to protect the floorcovering edges and to provide a safe transition between levels.