Data Sheet:   (sheet 1 of 1)   March 2011

# LED Step Row Indicator 8mm

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for LED Step Row Indicator 8mm is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: LED Step Row Indicator 8mm

Material: PVC-u top and base

LED Options: Available in 6 LED colours – Amber, Blue, Green, Red and White (Yellow subject to min. order quantity)

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: LED Step Row Indicator 8mm

Material: PVC-u top and base

Gauge: 8mm

Dimensions: 62mm (w) x 62mm (d) x 12mm (h)

Format: Alphabetical, numerical or graphical

LED Options: Available in 6 LED colours – Amber, Blue, Green, Red and White (Yellow subject to min. order quantity)

Voltage: 12v

Power Consumption: 25mA per identifier

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

LED Step Row Identification

Gradus step row indicators are used to identify seating rows in auditoria, such as cinemas, theatres and lecture theatres, in darkened conditions and can be installed into the surrounding floorcovering on either the step tread or riser.

The indicators can incorporate alphabetical or numerical formats, or can be produced in graphic format for directional signage or to denote particular areas, e.g. wheelchair access points.