Cleaning and Maintenance Information

# Accessories

LED Step Row Indicator

This leaflet has been compiled to help the user obtain optimum performance and satisfaction from their selected product:

Preventative Maintenance Programme

A regular scheduled maintenance programme should be employed to prevent the build up of dirt and grease, which will detract from the overall appearance of the product.

NB. Under no circumstances should degreasers of any type and floor cleaners/ sanitizers containing hydrocarbons or citrus based agents be used to clean Gradus Step Row Indicators.

Steam cleaners, power washers, floor sealants, polishes or any coatings should not under any circumstances be used on step row indicators.

Daily Cleaning

Remove dust particles by wiping with a damp cloth.

PVC-u Profile

Stubborn marks such as boot blacking may be removed from the profile by means of a green scotch pad and neutral detergent. After cleaning, dry thoroughly with a lint free cloth. Due to the physical properties of the PVC-u material, we strongly recommend that the green pad is changed regularly.

Visual Inspection - Monthly

Check the step row indicator for physical damage and for any exposed LED strips or cables.  Check lighting system in the profile for faulty LEDs.

Full System Test - Annually

A full system test should be conducted by a competent service engineer/electrician.

Note: a visual inspection may be carried out by responsible personnel but it is recommended that actual maintenance should be carried out by suitably qualified personnel (qualified electrician).

Data Sheet:   (sheet 1 of 1)   19/04/11

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com