Cleaning and Maintenance Information

# Accessories

LED Wall Light

This leaflet has been compiled to help the user obtain optimum performance and satisfaction from their selected product:

Preventative Maintenance Programme

A regular scheduled maintenance programme should be employed to prevent the build up of dirt and grease, which will detract from the overall appearance of the product.

NB. Under no circumstances should degreasers of any type and cleaners/ sanitizers containing hydrocarbons or citrus based agents be used to clean Gradus Wall Lights.

Steam cleaners, power washers, sealants, polishes or any coatings should not under any circumstances be used on wall lights.

Daily Cleaning

Remove dust particles by wiping with a damp cloth.

Visual Inspection - Monthly

Check the wall light for physical damage and for any exposed LED strips or cables.  Check lighting system in the profile for faulty LEDs.

Full System Test - Annually

A full system test should be conducted by a competent service engineer/electrician.

Note: a visual inspection may be carried out by responsible personnel but it is recommended that actual maintenance should be carried out by suitably qualified personnel (qualified electrician).

Data Sheet:   (sheet 1 of 1)   19/04/11

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com