# Wall Light

Data Sheet:   (sheet 1 of 1)   March 2011

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Wall Light is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

V59 LUMINAIRES AND LAMPS

405 LUMINAIRES

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Wall Light

LED Options: Available in 5 LED colours – Amber, Blue, Green, Red and White

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Wall Light

Top: 31.5mm height

Base: 45.5mm height, 11mm depth

Length: 2.50m

LED Options: Available in 5 LED colours – Amber, Blue, Green, Red and White

Voltage: 12v

Power Consumption: 0.3 watts per LED

Lifecycle: effective up to 50,000 hours

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Accessories: End caps

Description

Decorflex

The Gradus Wall Light has been designed to provide soft illumination way-finding for auditoria access areas during showings or performances without detracting from the primary function of the installation.

The Wall Light uses the Interlok Advance LED lighting system, offering a pinpoint effect.