Installation Guidelines

# Accessories

RAM012 Ramping Frame

Data Sheet:   (sheet 1 of 1)   28/02/08

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

- Ensure that the substrate is sound, dry and free from contaminants.

- Mark a chalk line on the floor to show where the front edge of the ramp will sit.

- Apply a proprietary contact adhesive to the floor and the back of the profile.

- Allow the adhesive to cure until touch dry and place the profile into position

- All corners should be mitre cut.

If any further information is required, please do not hesitate to contact Gradus Technical Services on (+44)1625 428922 or fax on (+44)1625 425226