# RMF60 Ramping Frame

Data Sheet:   (sheet 1 of 1)   18/08/08

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for RMF60 Ramping Frame is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

N10 GENERAL FIXTURES/FURNISHINGS/EQUIPMENT

300 ENTRANCE MATTING / 40 MISCELLANEOUS FITTINGS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: RMF60 Ramping Frame

Material: Aluminium

Fixing: Mechanical (screw) fixing – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: RMF60 Ramping Frame

Height: 14mm

Gauge: 12mm

Overall Width: 78mm

Visible Ramp Width: 60mm

Material: Aluminium

Fixing: Mechanical (screw) fixing – as per manufacturers instructions

Description

RMF60 is an aluminium ramping frame used to create a surface matwell where a mat is laid directly on top of the floor and provides a safe transition between the mat and the adjoining floor.  RMF60 is ideal for use with 12mm primary barrier mats, such as Gradus Access, Esplanade Plus, Topguard and Tyreguard.