Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for RXT525 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

75/750/550 STAIR NOSINGS AND TRIMS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: RXT525 with Xtra-grip Plus Insert

Material: PVC-u channel with pvc inserts

Channel Colour: Black (LRV: 4.99), Bluebell (LRV: 9.76), Brown (LRV: 7.15), Buttercup (LRV: 62.62), Canvas (LRV: 55.43), Dove (LRV: 26.19), Glacier (LRV: 42.73), Granite (LRV: 11.69), Ink (LRV: 5.40), Snowdrift (LRV: 80.54), Burgundy (LRV: 5.89), Clay (LRV: 51.53), Jade (LRV: 55.54), Sky (LRV: 55.38), Wisp (56.62) (select as required)

Insert Colour: Bone (LRV: 50.66), Cliff (LRV: 27.61), Conker (LRV: 7.85), Diamond (LRV: 81.58), Lunar (LRV: 39.74), Marl (LRV: 10.91), Navy (LRV: 5.94), Raven (LRV: 5.01), Sulphur (LRV: 51.11), Meltwater (LRV: 51.13), Vine (LRV: 53.04) (select as required)

Fixing: Gradus Grip (adhesive only) – as per manufacturer’s instructions OR Mechanical & adhesive fix – as per manufacturer’s instructions or

Reference: RXT525 with Xtra-grip Insert

Material: PVC-u channel with pvc inserts

Channel Colour: Black (LRV: 4.99), Bluebell (LRV: 9.76), Brown (LRV: 7.15), Buttercup (LRV: 62.62), Canvas (LRV: 55.43), Dove (LRV: 26.19), Glacier (LRV: 42.73), Granite (LRV: 11.69), Ink (LRV: 5.40), Snowdrift (LRV: 80.54), Burgundy (LRV: 5.89), Clay (LRV: 51.53), Jade (LRV: 55.54), Sky (LRV: 55.38), Wisp (56.62) (select as required)

Insert Colour: Carbon (LRV: 5.01), Deepsea (LRV: 5.94), Iceberg (LRV: 81.58), Oat (LRV: 50.66), Pebble (LRV: 27.61), Rock (LRV: 10.91), Truffle (LRV: 7.85), Vapour (LRV: 39.74), Zest (LRV: 51.11), Breeze (LRV: 51.13), Pampas (LRV: 53.04) (select as required)

Fixing: Gradus Grip (adhesive only) – as per manufacturer’s instructions OR Mechanical & adhesive fix – as per manufacturer’s instructions or

Reference: RXT525 with Interior Insert

Material: PVC-u channel with pvc inserts

Channel Colour: Black (LRV: 4.99), Bluebell (LRV: 9.76), Brown (LRV: 7.15), Buttercup (LRV: 62.62), Canvas (LRV: 55.43), Dove (LRV: 26.19), Glacier (LRV: 42.73), Granite (LRV: 11.69), Ink (LRV: 5.40), Snowdrift (LRV: 80.54), Burgundy (LRV: 5.89), Clay (LRV: 51.53), Jade (LRV: 55.54), Sky (LRV: 55.38), Wisp (56.62) (select as required)

Insert Colour: Buttercup (LRV: 55.54), Canvas (LRV: 53.27), Coffee (LRV: 6.05), Glacier (LRV: 42.09), Ink (LRV: 4.96), Jet (LRV: 4.56), Lead (LRV: 12.77), Snowdrift (LRV: 83.77), Steel (LRV: 26.99), Burgundy (LRV: 5.70), Clay (LRV: 47.97), Jade (LRV: 53.98), Sky (LRV: 52.63), Wisp (58.17) (select as required)

Fixing: Gradus Grip (adhesive only) – as per manufacturer’s instructions OR Mechanical & adhesive fix – as per manufacturer’s instructions

# RXT525

Data Sheet:   (sheet 1 of 2)   October 2015

# NBS & Gradus Specifications

Data Sheet:   (sheet 2 of 2)   October 2015

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: RXT525

Gauge: 4mm

Tread Dimension: 81mm

Riser Dimension: 40mm

Insert Width: 2 x 33mm

Channel: Double PVC-u channel with slip-resistant pvc inserts

Profile Shape: Rake Back

Channel Colour select as required: Black (LRV: 4.99), Bluebell (LRV: 9.76), Brown (LRV: 7.15), Buttercup (LRV: 62.62), Canvas (LRV: 55.43), Dove (LRV: 26.19), Glacier (LRV: 42.73), Granite (LRV: 11.69), Ink (LRV: 5.40), Snowdrift (LRV: 80.54), Burgundy (LRV: 5.89), Clay (LRV: 51.53), Jade (LRV: 55.54), Sky (LRV: 55.38), Wisp (56.62)

Insert Bond: Gradus Fusion advanced adhesive technology

Insert Type & Colour (select as required):

Xtra-grip Plus insert with low risk of slip in both wet and dry interior conditions (PTV 64 (wet conditions) PTV 70 (dry conditions), suitable for areas subject to regular cleaning such as catering and food preparation environments) in colour: Bone (LRV: 50.66), Cliff (LRV: 27.61), Conker (LRV: 7.85), Diamond (LRV: 81.58), Lunar (LRV: 39.74), Marl (LRV: 10.91), Navy (LRV: 5.94), Raven (LRV: 5.01), Sulphur (LRV: 51.11), Meltwater (LRV: 51.13), Vine (LRV: 53.04) or

Xtra-grip insert with low risk of slip in both wet and dry interior conditions (PTV 64 (wet conditions) PTV 70 (dry conditions)) in colour: Carbon (LRV: 5.01), Deepsea (LRV: 5.94), Iceberg (LRV: 81.58), Oat (LRV: 50.66), Pebble (LRV: 27.61), Rock (LRV: 10.91), Truffle (LRV: 7.85), Vapour (LRV: 39.74), Zest (LRV: 51.11), Breeze (LRV: 51.13), Pampas (LRV: 53.04) or

Interior Insert with low risk of slip in interior dry conditions (PTV 68) in colour: Buttercup (LRV: 55.54), Canvas (LRV: 53.27), Coffee (LRV: 6.05), Glacier (LRV: 42.09), Ink (LRV: 4.96), Jet (LRV: 4.56), Lead (LRV: 12.77), Snowdrift (LRV: 83.77), Steel (LRV: 26.99), Burgundy (LRV: 5.70), Clay (LRV: 47.97), Jade (LRV: 53.98), Sky (LRV: 52.63), Wisp (58.17)

Recommended Side Trims: HXT42

Fixing: Gradus Grip (adhesive only) – as per manufacturer’s instructions OR Mechanical & adhesive fix – as per manufacturer’s instructions

Description

XT Hardnose Range

A range of PVC-u stair edgings incorporating an extended insert that continues around the leading edge of the profile to ensure that contact is always made with the slip-resistant element of the stair edging in line with the latest recommendations from BS8300:2009+A1:2010 and research undertaken by BRE (Information Paper 15/03).

Selecting the channel and insert in the same colour provides the ideal solution for creating a single solid band of colour, that contrasts with the surrounding floorcovering, to define the step edge in line with Approved Document M (The Building Regulations 2010) and BS8300:2009+A1:2010 guidelines.

# RXT525

# NBS & Gradus Specifications