50mm Sleeved Handrail System

Data Sheet:   (sheet 1 of 1)   August 2015

8

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for the 50mm Sleeved Handrail System is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

Q41 Barriers/ Guardrails

240 HANDRAIL SYSTEMS

110 PEDESTRIAN RESTRAINT SYSTEMS IN METAL

L30 Stairs/ ladders/ walkways/ handrails/ balustrades

70 PROPRIETARY HANDRAILS

580 PROPRIETARY HANDRAILS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: 50mm Sleeved Handrail System

Material: Galvanised steel rails and polymer sleeves

Overall handrail diameter: 50mm

Rail sets (select as required): Standard rails - 2 x 1000mm length (product code: KS-50-RS-1000Y), 2 x 1600mm length (product code: KS-50-RS-1600Y), 2 x 3200mm length (product code: KS-50-RS-3200Y); Custom rails* - 2 x custom 400-1599mm length (product code: KS-50-RS-SHORTY); 2 x custom 1600-3200mm length (product code: KS-50-RS-LONGY);

Posts (select as required): Pre-assembled upright end post – 1100mm height (product code: KS-50-EPB), Pre-assembled upright middle post – 1100mm height (product code: KS-50-MPB), Pre-assembled upright corner post – 1100mm height (product code: KS-50-CPB)

Fixing: Mechanical (screw) fix – as per manufacturer’s instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: 50mm Sleeved Handrail System

Material: Galvanised steel rails and polymer sleeves

Overall handrail diameter: 50mm

Rail sets (select as required): Standard rails - 2 x 1000mm length (product code: KS-50-RS-1000Y), 2 x 1600mm length (product code: KS-50-RS-1600Y), 2 x 3200mm length (product code: KS-50-RS-3200Y); Custom rails* - 2 x custom 400-1599mm length (product code: KS-50-RS-SHORTY); 2 x custom 1600-3200mm length (product code: KS-50-RS-LONGY);

Posts (select as required): Pre-assembled upright end post – 1100mm height (product code: KS-50-EPB), Pre-assembled upright middle post – 1100mm height (product code: KS-50-MPB), Pre-assembled upright corner post – 1100mm height (product code: KS-50-CPB)

Fixing: Mechanical (screw) fix – as per manufacturer’s instructions

Description

The 50mm Sleeved Handrail System is a modular, cast steel, component system. It is ideal for use in environments where pedestrian areas and walkways are adjacent to vehicle routes e.g. car parks, service areas and loading bays. It can be used to define pedestrian walkways and channel foot traffic away from vehicle routes. Yellow rail sleeves provide greater visual contrast for both pedestrian and vehicle traffic, helping to further segregate one from the other. The sleeves also help to provide additional handrail grip, is comfortable to the touch and provides a smooth hand transition in line with the guidelines in Approved Documents K & M of the Building Regulations 2010 and BS8300:2009+A1:2010. The system comprises top rails, mid rails and upright posts that are supplied pre-assembled as mid, end and corner posts. The 42mm Galvanised Handrail System can be specified as a sleeveless alternative.

*Specify exact length on custom rails

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com