Bollard Cover Kits

Data Sheet:   (sheet 1 of 1)   August 2015

8

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Bollard Cores & Cover Kits is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

.

NBS Specification

Q50 Site/street furniture/equipment

190 BOLLARDS

30 STREET FURNITURE

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Bollard Cover Kits

Bollard cover heights & colours (select as required): 960mm – Black/Yellow (product code: BCK-168-960-BY), Green/White (product code: BCK-168-960-GW), Red/White (product code: BCK-168-960-RW); 1260mm - Black/Yellow (product code: BCK-168-1260-BY), Green/White (product code: BCK-168-1260-GW), Red/White (product code: BCK-168-1260-RW); 1560mm - Black/Yellow (product code: BCK-168-1560-BY), Green/White (product code: BCK-168-1560-GW), Red/White (product code: BCK-168-1560-RW).

Optional additions (select as required): 50mm silver reflective band (product code: BA-REF-S)

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Bollard Cover Kits

Cover: Medium density polyethylene (produced from a 7 year UV stabilised material formula)

Bollard cover heights & colours (select as required): 960mm – Black/Yellow (product code: BCK-168-960-BY), Green/White (product code: BCK-168-960-GW), Red/White (product code: BCK-168-960-RW); 1260mm - Black/Yellow (product code: BCK-168-1260-BY), Green/White (product code: BCK-168-1260-GW), Red/White (product code: BCK-168-1260-RW); 1560mm - Black/Yellow (product code: BCK-168-1560-BY), Green/White (product code: BCK-168-1560-GW), Red/White (product code: BCK-168-1560-RW).

Diameter: 210mm

Optional additions (select as required): 50mm silver reflective band (product code: BA-REF-S)

For use with steel core bollards (select as required): 900mm (product code: BCBD-168-900-G), 1200mm (product code: BCBD-168-1200-G), 1500mm (product code: BCBD-168-1500-G)

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Description

A range of cover kits for steel core bollards with high-visibility cover kits. Cover kits are manufactured from medium density polyethylene. They are suitable for all weather temperatures (-40 to +90 degrees) and produced from a 7 year UV stabilised material formula. Cover kits are supplied in modular sections and are easy and quick to install. Cover kits are designed to be used with Gradus steel core bollards but can also be used for instant refurbishment of existing bollards and offer a low maintenance solution with no repainting required. The covers maintain aesthetics and keep bollards looking like new – no chips, scratches or damage.

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com