Flexi-Posts

Data Sheet:   (sheet 1 of 1)   August 2015

8

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Flexi-Posts is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

Q50 Site/street furniture/equipment

192 COLLAPSIBLE/ TELESCOPIC BOLLARDS

30 STREET FURNITURE

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Flexi-Posts

Heights (select as required): 800mm (product code: FDP-800-Y), 1000mm (product code: FDP-1000-Y)

Colour: Yellow

Fixing: Mechanical (screw) fix – as per manufacturer’s instructions.

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Flexi-Posts

Cover: Polyethylene
Base plate: Rubber (domed)

Heights (select as required): 800mm (product code: FDP-800-Y), 1000mm (product code: FDP-1000-Y)

Colour: Yellow

Fixing: Mechanical (screw) fix – as per manufacturer’s instructions.

Description

A range of low-cost, collapsible posts for areas requiring traffic control but where there is a high risk of impact e.g. underground and multi-storey car parks. The units are available in 2 height options and comprise a polyethylene post with a domed rubber base. The base design allows the posts to flex under impact thus providing a warning whilst minimising the damage to the vehicle. The polyethylene cover is maintenance free and will not damage under impact. The posts work on a heavy-duty bungee cord mechanism and can be permanent or temporary (posts can be easily removed from the base).

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com