Lamp Post Protector Kit

Data Sheet:   (sheet 1 of 1)   August 2015

8

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Lamp Post Protector Kit is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

Q41 Barriers/ Guardrails

135 PROPRIETARY PROTECTIVE BARRIERS

240 HANDRAIL SYSTEMS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Lamp Post Protector Kit

Height: 1260mm

Diameter: 280mm

Colour: Black & Yellow (product code: LPW-1260-BY), Green & White (product code: LPW-1260-GW), Red & White (product code: LPW-1260-RW)

Fixing: Mechanical (screw) fix – as per manufacturer’s instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Lamp Post Protector Kit

Cover: Polyethylene sleeve with silver reflective band

Core: Foam (provides impact protection)

Height: 1260mm

Diameter: 280mm – suitable for lamp posts up to 219mm diameter

Colours (select as required): Black & Yellow (product code: LPW-1260-BY), Green & White (product code: LPW-1260-GW), Red & White (product code: LPW-1260-RW)

Fixing: Mechanical (screw) fix – as per manufacturer’s instructions

Description

Lamp post protector kits are specifically designed to protect lamp posts from impact whilst minimising damage to vehicles. They are ideal for car parks where space is at a premium but there is a high risk of vehicle impact. The colour options and the incorporation of a Silver reflective band are designed to offer high-visibility with the aim of avoiding impact wherever possible. The protectors feature a foam core for impact absorption and are quick and easy to install. Suitable for lamp posts up to 219mm diameter.

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com