Safety Barrier System

Data Sheet: (sheet 1 of 1) August 2015

8

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Safety Barrier System – Wall Mounted Posts is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

Q41 Barriers/ Guardrails

170 VEHICLE SAFETY FENCES – METAL

240 HANDRAIL SYSTEMS

135 PROPRIETARY PROTECTIVE BARRIERS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Safety Barrier System

Material: Corrugated steel – galvanised to BSEN ISO 1461

Rail Length (select as required): 1750mm (AR3-1750), 3500mm (AR3-3500), Custom Short (AR3-CC-SHORT), Custom Long (AR3-CC-LONG) and 3500mm Curved Rail (AR3-3500-R)
Rail Accessories: Containment Angle (ACA-3000G) – for use with low level rails

Posts (select as required): Floor Mounted Posts – single rail 360mm high (API-360), 560mm high (API-560), 610mm high (API-610) or 760mm high (API-760); double rail 760mm high (API-760D) or 1100mm high (API-1100D);  Internal Corner Posts 90° – 560mm high (AICP-90-560), 610mm high (AICP-90-610) or 760mm high (AICP-90-760); Internal Corner Posts 135° - 560mm high (AICP-135-560), 610mm high (AICP-135-610) or 760mm high (AICP-135-760); External Corner Posts 90° - 560mm high (AECP-90-560), 610mm high (AECP-90-610) or 760mm high (AECP-90-760); External Corner Posts 135° - 560mm high (AECP-135-560), 610mm high (AECP-135-610) or 760mm high (AECP-135-760); Wall Mounted Post – depth 50mm (AWP-50), or 75mm (AWP-75).

Post Accessories (select as required): Safety End – Yellow/Yellow (ASE-Y), Black/Yellow (ASE-B); Safety Corner – Yellow/Yellow (ASC-Y), Black/Yellow (ASC-B); Fishtail Safety End – Yellow/Yellow (FSE-Y), Black/Yellow (FSE-B); Long Fishtail End – Yellow/Yellow (FSE-LY), Black/Yellow (FSE-LB); Pedestrian Safety End – Yellow/Yellow (PSE-Y), Black/Yellow (PSE-B); Optional stand-off bracket for Wall Mounted Post (AWP-SB-200).

Handrail additions (select as required): Rail Set – 1600mm length – Yellow (AHR-1600Y), Rail Set – 3200mm length – Yellow (AHR-3200Y); I Beam End Post – 760mm high (API-760HR-END), I Beam Mid Post – 760mm high (API-760HR-MID); Handrail Corner Extension Kit (AP-HR-CNR-KIT)

Fixing: Bolt sets & other fixing parts available – as per manufacturer’s instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Safety Barrier System

Material: Corrugated steel – galvanised to BSEN ISO 1461

Construction: Corrugated steel barrier system with optional polymer accessories

Rail Length (select as required): 1750mm (AR3-1750), 3500mm (AR3-3500), Custom Short (AR3-CC-SHORT), Custom Long (AR3-CC-LONG) and 3500mm Curved Rail (AR3-3500-R)
Rail Accessories: Containment Angle (ACA-3000G) – for use with low level rails

Posts (select as required): Floor Mounted Posts – single rail 360mm high (API-360), 560mm high (API-560), 610mm high (API-610) or 760mm high (API-760); double rail 760mm high (API-760D) or 1100mm high (API-1100D);  Internal Corner Posts 90° – 560mm high (AICP-90-560), 610mm high (AICP-90-610) or 760mm high (AICP-90-760); Internal Corner Posts 135° - 560mm high (AICP-135-560), 610mm high (AICP-135-610) or 760mm high (AICP-135-760); External Corner Posts 90° - 560mm high (AECP-90-560), 610mm high (AECP-90-610) or 760mm high (AECP-90-760); External Corner Posts 135° - 560mm high (AECP-135-560), 610mm high (AECP-135-610) or 760mm high (AECP-135-760); Wall Mounted Post – depth 50mm (AWP-50), or 75mm (AWP-75).

Post Accessories (select as required): Safety End – Yellow/Yellow (ASE-Y), Black/Yellow (ASE-B); Safety Corner – Yellow/Yellow (ASC-Y), Black/Yellow (ASC-B); Fishtail Safety End – Yellow/Yellow (FSE-Y), Black/Yellow (FSE-B); Long Fishtail End – Yellow/Yellow (FSE-LY), Black/Yellow (FSE-LB); Pedestrian Safety End – Yellow/Yellow (PSE-Y), Black/Yellow (PSE-B); Optional stand-off bracket for Wall Mounted Post (AWP-SB-200).

Handrail additions (select as required): Rail Set – 1600mm length – Yellow (AHR-1600Y), Rail Set – 3200mm length – Yellow (AHR-3200Y); I Beam End Post – 760mm high (API-760HR-END), I Beam Mid Post – 760mm high (API-760HR-MID); Handrail Corner Extension Kit (AP-HR-CNR-KIT)

Fixing: Bolt sets & other fixing parts available – as per manufacturer’s instructions

Description

Corrugated steel barrier rail system for protection of buildings, equipment and pedestrians in areas used by vehicles e.g. car parks, service bays, delivery areas, etc. The range features a selection of polymer accessories that incorporate diamond grade reflectors for high visibility providing visual contrast for both drivers and pedestrians.

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com