Installation Guidelines

# Accessories

Safety Track

Data Sheet:   (sheet 1 of 1)   28/02/08

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

- It should be ensured that all surfaces to which the profile is to be fixed are dry, flat and free from any contaminants.

- Mark the area where the Safety Track is to be installed and apply primer to the substrate and allow to dry fully.

- Peel off the release paper from the back of the Safety Track and apply to the primed area.

- Using a small roller, pass over the Safety Track ensuring it has complete adhesion to the substrate and that there are no trapped air pockets between the product and substrate.

- In areas where water penetration may be a risk, (outdoor locations or other wet areas) then the use of Edge Fix Sealant is recommended.

This is dispensed from a tube and applied to the perimeter of the Safety Track.

If any further information is required, please do not hesitate to contact Gradus Technical Services on (+44)1625 428922 or fax on (+44)1625 425226