# HCS50

Data Sheet:   (sheet 1 of 1)   16/02/16

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for HCS50 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: HCS50

Material: Flexible pvc

Colour: Almond, Black, Bluebell, Brown, Dove, Evergreen, Glacier, Granite, Snowdrift, Stone (select as required)

Fixing: Adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: HCS50

Material: Flexible pvc

Gauge: 3.5mm

Height: 40mm

Colour: Almond, Black, Bluebell, Brown, Dove, Evergreen, Glacier, Granite, Snowdrift, Stone (select as required)

Fixing: Adhesive fix – as per manufacturers instructions

Description

Capping Seals

Flexible PVC capping seals are used to finish the top of a resilient floorcovering where it has been coved up the wall.  Capping seals are usually used in conjunction with a cove former.