# MCC75

Data Sheet:   (sheet 1 of 1)   15/01/08

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for MCC75 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: MCC75

Material: PVC-u – Metallic Finish

Colour: Doubloon, Silver, Zinc

Fixing: Mechanical (screws) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: MCC75

Material: PVC-u – Metallic Finish

Gauge: 6mm

Height: 47mm

Colour: Doubloon, Silver, Zinc

Fixing: Mechanical (screws) and adhesive fix – as per manufacturers instructions

Description

Carpet Caps

Carpet caps are used to provide a neat finish where carpet or carpet tile is continued up the wall.  Carpet caps can be combined with a cove former where required to help form a cove.