Data Sheet:   (sheet 1 of 1)   February 2011

MAS97/8SF

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for MAS97/8SF is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M40 Stone/Concrete/Quarry/Ceramic Tiling/Mosaic

600 SIT ON TILE SKIRTINGS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: MAS97/8SF

Material: Anodised Aluminium

Fixing:  Adhesive Fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: MAS97/8SF

Height: 80mm

Thickness: 22.5mm

Length: 2.00m

Material: Anodised Aluminium

Finish: Silver

Fixing:  Adhesive Fix – as per manufacturers instructions

Accessories: End Caps MAS97/8P

Junction MAS97/8G

External Corner MAS97/8E

Internal Corner MAS797/8I

Description

Metal Skirtings

An extensive range of metal skirtings ideal for use where a modern high tech finish is required.They are available in a number of different finishes and height combinations. Gradus metal skirtings can be used in conjunction with most types of floorcoverings including carpets, resilient flooring, stone, wood, wood laminate and ceramic tiles.