Data Sheet:   (sheet 1 of 1)   April 2011

8

# SI 100 50 3.2 P

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for SI 100 50 3.2 P is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

80 / 770 SKIRTINGS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SI 100 50 3.2 P

Material: Flexible pvc

Colour: Almond (LRV: 38.00), Azure (LRV: 9.99), Black (LRV: 4.62), Bluebell (LRV: 11.28), Blueberry (LRV: 22.97), Brown (LRV: 7.04), Dove (LRV: 26.50), Dune (LRV: 49.67), Evergreen (LRV: 6.53), Glacier (LRV: 40.09), Granite (LRV: 10.44), Hickory (LRV: 16.10), Leaf (LRV: 31.58), Mist (LRV: 58.74), Salmon (LRV: 50.61), Snowdrift (LRV: 80.86), Stone (LRV: 19.73) (available subject to minimum quantity and lead times - select as required)

Fixing: Adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SI 100 50 3.2 P

Material: Flexible pvc

Height: 100mm

Thickness: 3.2mm

Foot Dimension: 50mm

Colour: Almond (LRV: 38.00), Azure (LRV: 9.99), Black (LRV: 4.62), Bluebell (LRV: 11.28), Blueberry (LRV: 22.97), Brown (LRV: 7.04), Dove (LRV: 26.50), Dune (LRV: 49.67), Evergreen (LRV: 6.53), Glacier (LRV: 40.09), Granite (LRV: 10.44), Hickory (LRV: 16.10), Leaf (LRV: 31.58), Mist (LRV: 58.74), Salmon (LRV: 50.61), Snowdrift (LRV: 80.86), Stone (LRV: 19.73) (available subject to minimum quantity and lead times - select as required)

Fixing: Adhesive fix – as per manufacturers instructions

Description

Pvc Skirtings – ‘P’ Range - Set-In

An extensive range of pvc skirtings, through-coloured for maximum performance and maintenance.  Gradus skirtings can be used in conjunction with floorcoverings from all major manufacturers and are suitable for a wide range of commercial applications.

Set-In skirtings will allow, when required, a homogeneous finish to be achieved through the use of a proprietary weld rod (hot weld) or a proprietary cold weld adhesive/silicone.  Joints should be welded horizontally and can be welded or sealed vertically to achieve a completely impervious finish and further improve the finish of external and internal corners.