Cleaning and Maintenance Information

# Accessories

PVC Skirtings – Set-In

Data Sheet:   (sheet 1 of 1)   September2013

These cleaning and maintenance guidelines apply to the following Gradus profiles:

SI 100, SI 100 32, SI 100 50 2, SI 100 50 2.5, SI 100 50 3.2, SI 100 55, SI 150

These guidelines have been compiled to help the user obtain optimum performance and satisfaction from their selected product.

Preventative Maintenance Programme

A regular scheduled maintenance programme should be employed to prevent the build up of dirt and grease, which will detract from the overall appearance of the product.

Daily Cleaning

Brush down the profile using a soft bristled brush and remove dust particles from the profile by wiping with a damp cloth.

Twice Weekly or as Required

Wipe the surface with a micro fiber cloth or mop, using the cleaning chemical at the correct dilution.  Do not soak the profile.

Once the profile has been cleaned thoroughly rinse with fresh, clean water.

Recommended Cleaning Products for PVC skirtings – set-in

Gradus has worked with Selden Research to undertake extensive testing on all Gradus skirting profiles.  As a result, a range of cleaning products has been recommended for use with Gradus skirting profiles in a variety of environments.

The cleaning products listed below are suitable for this particular profile.

For further information about these cleaning products, including environmental suitability, instructions for us and COSHH data sheets, please contact:

Selden Research Limited, Staden Business Park, Staden Lane, Buxton, Derbyshire, SK17 9RZ

Tel: 01298 26226

Email: gradus@selden.co.uk

Web: www.selden.co.uk

| Product Description | Name of Cleaner | Code | Vinyl Floor Safe |
| --- | --- | --- | --- |
| Neutral Cleaners | Sabre RTU | T054 | Yes |
|  | Sabre | C054 | Yes |
| General Purpose Cleaners | Multi-Purpose Cleaner | F010 | Yes |
| General Purpose Bactericidal Cleaners | Selgiene Ultra RTU | T066 | Yes |
|  | Selgiene Ultra | C066 | Yes |
| Heavy Duty Alkaline Cleaners | H.D. Degreaser | F052 | Yes |
|  | Selclen S | F014 | Yes |
| Bleach Disinfectant Tablets | Defence Sanitising Tablets | Jeyes C17 | No |
| Bleach Disinfectant Powder | Defence Powder Cleaner Sanitiser | Jeyes C10 | No |

NB. Under no circumstances should chemicals containing citrus based agents, pine oils or hydrocarbons be used to clean any Gradus skirting profile.  Using bleach tablets will discolour the surface over time.

Steam cleaners, floor sealants, polishes or such coatings, should not under any circumstances, be applied to PVC skirtings or cappings.

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

09/13/KRO