Data Sheet:   (sheet 1 of 1)   June 2014

8

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for SI 100 50 2 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

80 / 770 SKIRTINGS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SI 100 50 2

Material: Flexible pvc

Colour: Almond (LRV: 38.00), Azure (LRV: 9.99), Black (LRV: 4.62), Bluebell (LRV: 11.28), Blueberry (LRV: 22.97), Brown (LRV: 7.04), Dove (LRV: 26.50), Dune (LRV: 49.67), Evergreen (LRV: 6.53), Glacier (LRV: 40.09), Granite (LRV: 10.44), Hickory (LRV: 16.10), Leaf (LRV: 31.58), Mist (LRV: 58.74), Salmon (LRV: 50.61), Snowdrift (LRV: 80.86), Stone (LRV: 19.73) (available subject to minimum quantity and lead times - select as required)

Fixing: Adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SI 100 50 2

Material: Flexible pvc

Height: 100mm

Thickness: 2mm

Foot Dimension: 50mm

Colour: Almond (LRV: 38.00), Azure (LRV: 9.99), Black (LRV: 4.62), Bluebell (LRV: 11.28), Blueberry (LRV: 22.97), Brown (LRV: 7.04), Dove (LRV: 26.50), Dune (LRV: 49.67), Evergreen (LRV: 6.53), Glacier (LRV: 40.09), Granite (LRV: 10.44), Hickory (LRV: 16.10), Leaf (LRV: 31.58), Mist (LRV: 58.74), Salmon (LRV: 50.61), Snowdrift (LRV: 80.86), Stone (LRV: 19.73) (available subject to minimum quantity and lead times - select as required)

Fixing: Adhesive fix – as per manufacturers instructions

Description

Pvc Skirtings – Set-In

An extensive range of pvc skirtings, through-coloured for maximum performance and maintenance.  Gradus skirtings can be used in conjunction with floorcoverings from all major manufacturers and are suitable for a wide range of commercial applications.

Set-in skirting, when used in conjunction with a suitable floor covering, will allow a homogenous seal to be achieved through the use of a proprietary weld rod (hot weld) supplied by the floor covering manufacturer, or a proprietary cold weld adhesive or mastic sealant suitable for use with the floor covering selected. The joint between the foot of the skirting and the floor covering can be welded with a proprietary weld rod supplied by the flooring manufacturer, whilst joints in the skirting can be sealed with a proprietary cold weld adhesive or mastic sealant.

# SI 100 50 2

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

06/14/DT