# HXT47

Data Sheet:   (sheet 1 of 1)   01/05/14

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for HXT47 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: HXT47

Material: PVC-u

Colour: Black, Ink, Brown, Bluebell, Granite, Dove, Glacier, Clay, Sky, Canvas, Jade, Wisp, Buttercup, Snowdrift

Fixing: Proprietary cartridge adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: HXT47

Material: PVC-u

Material: PVC-u

Gauge: 12mm

Profile Height: 47mm

Flange Width: 18mm

Colour: Black, Ink, Brown, Bluebell, Granite, Dove, Glacier, Clay, Sky, Canvas, Jade, Wisp, Buttercup, Snowdrift

Fixing: Proprietary cartridge adhesive fix – as per manufacturers instructions

Site Join: Butt

Description

Stair Trims – Welded Corners with Fixed Flange

Welded corners are designed to form a neat and attractive edge around the open end of a step by concealing the edge of the floorcovering and stair edging.  Welded corners are fabricated using a trimming strip of the correct gauge to suit the thickness of the floorcovering.

HXT47 welded corners are contoured to a rounded edge  to match the curved edge design of the XT stair edging profiles, providing a flush, neat finish.

HXT47 is designed to work with XT Hardnose profiles R95XT11 and R95XT51.