# TAXT5212

Data Sheet:   (sheet 1 of 1)   20/01/15

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TAXT5212 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TAXT5212

Material: Aluminium

Note: This profile uses TC3 clips which are supplied with welded corners but should be specified separately with stock lengths.

Fixing: Adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TAXT5212

Material: Aluminium

Gauge: 10.5mm/12.5mm

Note: This profile uses TC3 clips which are adjustable to provide an upstand of 10.5mm or 12.5mm on the tread.  The clips slide on to the profile and remain in place after fixing.

Profile Height: 52mm

Fixing: Adhesive fix – as per manufacturers instructions

Site Join: Mitre

Description

Stair Trims – Welded Corners with Fixing Clips

Welded corners are designed to form a neat and attractive edge around the open end of a step by concealing the edge of the floorcovering and stair edging.  Welded corners are fabricated using a trimming strip of the correct gauge to suit the thickness of the floorcovering.

TAXT5212 has been designed specifically to work with Gradus CXT1 & CXT2 stair edgings and, when supplied as a pre-welded corner, features a rounded radius to complement the curved design of the stair edgings.